APPENDIX A

preliminary design report checklist

Dallas Water Utilities

| Preliminary Design Report Checklist Dallas Water Utilities |
| --- |
| Project Type* | Items |
| Minor | Major |  |
|  |  | 1.0 General General project description along with location and limit. Project description typically be based on PID number (Manhole to manhole for wastewater and street/alley intersection to street/alley intersection for water) Purpose of the project General location map with Mapsco, and PID Number(s) |
|  |  | 2.0 Design Data 2.1 Record Search Water/Wastewater Mains: Size, type and age of existing water/wastewater main to be replaced List of map references (685W, 411Q etc) Adjacent Utilities: - Proposed/Existing adjacent water/wastewater mains, storm drains and franchise utilities 2.2 Water/Wastewater Condition Check, if Available: Water condition check including water break index Wastewater condition check including TV inspection summary report Other field data as available 2.3 Pavement Data: Street classification (M-2-U, R-2-U, etc) Street material (asphalt, concrete, etc) Pavement thickness, in inches, if available Approximate age of existing pavement along with linear feet less than 5 years old and linear feet greater than 5 years old if available |
|  |  | 3.0 Evaluation of Alternatives, If Applicable Evaluation of various alignment and/or design alternatives along with drawing and photographs as necessary A table showing comparison of various options including cost estimate. |
|  |  | 4.0 Recommendation |
|  |  | 4.1 General Selection of the preferred alternative/proposed alignment including drawing and photograph(s) as necessary Proposed pipe size and material Proposed construction method (Open cut or trenchless) |

Contd.

| Preliminary Design Report Checklist Dallas Water Utilities |
| --- |
| Project Type* | Items |
| Minor | Major |  |
|  |  | 4.2 Project Coordination: Proposed projects by others to include project Scope, agency, project schedule, and impact to DWU |
|  |  | 4.3 Possible Impacts to Customers: This may include an analysis of inconvenience factors, alternate routes, lost business, etc. |
|  |  | 4.5 Permits Requirements: Identification of potential permit(s) from following entities: Corps of Engineers Permit DART Permit TXDOT Permit TCEQ Permit Railroad Permit City of Dallas Street Cut Permit NTTA Customer Cities Other Cities where the DWU utilities may be in non-City of Dallas public right of way or public owned easements. |
|  |  | 4.6 Rights of Ways or Easements Requirement(s): Identification of potential right-of-ways easement requirement(s): Approximate area of new easement(s) or new property to be purchased in fee simple that is required to complete this project. |
|  |  | 4.7 Field Investigation: Identification of following investigative requirement(s) Geotechnical Investigation: Soil Boring Subsurface Utility Investigation (S.U.E) Evaluating Potential for Contamination : File Search, Phase I or Phase II Environmental Site Assessment (ESA) |
|  |  | 4.8 Hydraulic Modeling: Any recommended modeling scenarios that might be needed to see how this pipe might impact the DWU systems. |
|  |  | 4.9 Cost Estimate: |

* Minor Project typically refers to the following:

- Project consisting of less than 2000 LF of 12’ or smaller water and/or wastewater main basic replacement.

*Major Project typically refers to the following:

- Project consisting of greater than 2000 LF of water or/and wastewater main replacement

- Projects consist of typically larger than 12” in diameter

- New development projects

- Capacity improvement projects

- Other special projects as applicable.

# Text boxes

A

A

A