## Cost Estimate
ESTIMATE OF PROBABLE COST-DWU PROJECTS
PROJECT: | XXXXX |  | PREPARED BY: |  | XXX |  |  | SHEET: 1 OF XX
PID: | XXXXX |  | CHECKED BY: |  | XXX
FILE No.: | XXXXX |  | DATE: |  | XXX |  |  | TOTAL ESTIMATE |  | 0
ITEM NO | UNIT | ITEM | GEN | SHT | SHT | PLAN | ROUNDED | BID | UNIT | BID
|  | DESCRIPTION | ITEM | XX | XX | QUANTITY | QUANTITY | QUANTITY | PRICE | AMOUNT
1800F | LF | 4" PVC Water Pipe |  |  |  | 0 |  |  |  | 0
1800H | LF | 6" PVC Water Pipe |  |  |  | 0 |  |  |  | 0
1800J | LF | 8" PVC Water Pipe |  |  |  | 0 |  |  |  | 0
3110J | LF | 8" PVC Pressure Rated Wastewater Pipe |  |  |  | 0 |  |  |  | 0
5020 | TN | Cast Iron Fittings |  |  |  | 0 |  |  |  | 0
5050 | EA | Water Service |  |  |  | 0 |  |  |  | 0
5091 | EA | Install Fire Hydrant |  |  |  | 0 |  |  |  | 0
5092 | EA | Remove Existing Fire Hydrant |  |  |  | 0 |  |  |  | 0
5093 | EA | Deliver Fire Hydrant |  |  |  | 0 |  |  |  | 0
5100H | EA | 6" Gate Valve |  |  |  | 0 |  |  |  | 0
5100J | EA | 8" Gate Valve |  |  |  | 0 |  |  |  | 0
5600 | EA | Cut and Plug Water Main for Test |  |  |  | 0 |  |  |  | 0
6060 | EA | Wastewater Lateral |  |  |  | 0 |  |  |  | 0
6080 | EA | Standard Wastewater Mainline Cleanout |  |  |  | 0 |  |  |  | 0
6100 | EA | Wastewater Access Device |  |  |  | 0 |  |  |  | 0
6110 AE | EA | 48" Drop Connection Manhole |  |  |  | 0 |  |  |  | 0
6130 AE | EA | 48" Wastewater Manhole |  |  |  | 0 |  |  |  | 0
6141 | EA | Vacuum Test for Wastewater Manhole |  |  |  | 0 |  |  |  | 0
6920 | LF | Television Inspection (2x) |  |  |  | 0 |  |  |  | 0
6925 | LF | Trench Excation Safety & Support |  |  |  | 0 |  |  |  | 0
7030 | CY | Rock Foundation |  |  |  | 0 |  |  |  | 0
7041 | CY | Flowable Backfill |  |  |  | 0 |  |  |  | 0
7050 | CY | Sand Backfill |  |  |  | 0 |  |  |  | 0
7071 | CY | Class "B" Concrete |  |  |  | 0 |  |  |  | 0
7520 | TN | Temporary Paving (Hot or High Performance Mix) |  |  |  | 0 |  |  |  | 0
7530 | LF | Concrete Curb and/or Gutter |  |  |  | 0 |  |  |  | 0
7583 | CY | Reinforced Concrete Driveway |  |  |  | 0 |  |  |  | 0
7600 | CY | Reinforced Concrete Base |  |  |  | 0 |  |  |  | 0
7655 | CY | Hot Mix Asphalt Concrete Paving |  |  |  | 0 |  |  |  | 0
7712 | LS | Storm Water Pollution Prevention Plan |  |  |  | 0 |  |  |  | 0
7730 | LS | Disposal of Heavy Chlorinated Water Main Flushing Water |  |  |  | 0 |  |  |  | 0
8011 | LF | Construction Surveying & Staking (Water & WW Mains) |  |  |  | 0 |  |  |  | 0
20500 | EA | Investigation |  |  |  | 0 |  |  |  | 0

## Calculations- Sh. xx
CALCULATIONS
PROJECT |  |  | XXXX | [7 empty] | PREPARED BY: |  | XXXX
PID |  |  | XXXX | [7 empty] | CHECKED BY: |  | XXXX
SHEET |  |  | XXXX | [7 empty] | DATE: |  | XXXX
| 7030 Rock Foundation | [12 empty] | Sht. Subtotals
[(LF of pipe ft) x (Ditch Width ft) x (Depth ft) x (F)] / (27 ft3/yd3)
| XXX | * | XX | * | 1 | x | 0.1 | / | 27 | = | #VALUE! | yd3 for WW |  | #VALUE! | yd3
| XXX | * | XX | * | 1 | x | 0.05 | / | 27 | = | #VALUE! | yd3 for WTR
704E Four "F" Flowable Base-High Strength, Fast Set
[(LF of pipe ft) x (Ditch Width + 4 ft) x (Depth from top of embedment to ground line ft)] / (27 ft3/yd3)
| XXX | x | XX | * | 0.67 | / | 27 | = | #VALUE! | yd3 for WW |  |  |  | #VALUE! | yd3
| XXX | x | XX | * | 0.67 | / | 27 | = | #VALUE! | yd3 for WTR
7050 Sand Backfill
[(LF of pipe ft) x (Ditch Width ft) x (Depth from top of embedment to bottom of paving section ft) * (F)] / (27 ft3/yd3)
| XXX | x | XX | * | 4 | x | 0.1 | / | 27 | = | #VALUE! | yd3 for WW |  | #VALUE! | yd3
| XXX | x | XX | * | 4 | x | 0.1 | / | 27 | = | #VALUE! | yd3 for WTR
| 7071 Class "B" Concrete (Thrust Blocks): | [7 empty] | 0 | yd3
| Joint Type | # | Vol (CY) |  |  | Tot (CY)
| 8" x 6" Tee |  | 0.3 |  |  | 0
| 8"x8" Tee |  | 0.3 |  |  | 0
| 4" x 45° H.Bend |  | 0.2 |  |  | 0
| 6" x 45° H.Bend |  | 0.2 |  |  | 0
| 8" x 45° H.Bend |  | 0.2 |  |  | 0
| 8" x 90° Bend |  | 0.4 |  |  | 0
7520 Temporary Paving (Hot Mix)
[(LF of pipe ft) x (Ditch Width ft) x (220 lbs/yd2)] / [(9 ft2/yd2) x (2000 lbs/ton)]
| XXX | * | XX | * | 220 | / | 18000 | = | #VALUE! | tons for WW |  |  |  | #VALUE! | Tons
| XXX | * | XX | * | 220 | / | 18000 | = | #VALUE! | tons for WTR
757 Reinforced Concrete Paving
[(LF of pipe ft) x (Ditch Width + 2 ft) x (Thickness ft)] / (27 ft3/yd3)
| XXX | * | XX | * | 0.5 | / | 27 | = | #VALUE! | yd3 for WW
| XXX | * | XX | * | 0.5 | / | 27 | = | #VALUE! | yd3 for WTR
758A Reinforced Concrete Sidewalk
[(LF of pipe ft) x (Width of Sidewalk ft)] / [(9 ft2/yd2)]
| XXX | * | XX | / | 9 | = | #VALUE! | yd2 for WW
| XXX | * | XX | / | 9 | = | #VALUE! | yd2 for WTR
758B Temporary Hot Mix Asphalt Sidewalk
[(LF of sidewalk ft) x (Width of Sidewalk ft)] / [(9 ft2/yd2)]
| XXX | * | XX | / | 9 | = | #VALUE! | yd2 for WW
| XXX | * | XX | / | 9 | = | #VALUE! | yd2 for WTR
758B Temporary Hot Mix Asphalt Sidewalk
| XXX | * | XX | / | 9 | = | #VALUE!
| XXX | * | XX | / | 9 | = | #VALUE! | yd2 for WTR
758D Reinforced Concrete Driveway
[(LF of pipe ft) x (Ditch Width +2 ft)] / [(9 ft2/yd2)]
| XXX | * | XX | / | 9 | = | #VALUE! | yd2 for WW
| XXX | * | XX | / | 9 | = | #VALUE! | yd2 for WTR
7600 Reinforced Concrete Base
[(LF of pipe ft) x (Ditch Width + 2 ft) x (Thickness ft)] / (27 ft3/yd3)
| XXX | * | XX | * | 0.5 | / | 27 | = | #VALUE! | yd3 for WW |  |  |  | #VALUE! | yd3
| XXX | * | XX | * | 0.5 | / | 27 | = | #VALUE! | yd3 for WTR
7655 Hot Mix Asphalt Concrete Paving
[(LF of pipe ft)(Ditch Width {+ 2 on Concrete Base OR + 4 on Flowable Base} ft)(220 lbs/yd2)] / [(9 ft2/yd2)(2000 lbs/ton)]
| XXX | * | XX | * | 220 | / | 18000 | = | #VALUE! | WW
| XXX | * | XX | * | 220 | / | 18000 | = | #VALUE! | WTR |  |  |  | #VALUE! | Tons